## Maintenance Schedule
Blue Orbit TechHub - Server Maintenance Schedule
Check | Expected Action | Frequency | Date / Notes
Backup review | Review last successful job, failures, and one recoverability checkpoint | Monthly
Storage review | Check free capacity, growth pattern, RAID or disk-health warnings | Monthly
Alerting and logs | Confirm monitoring, failed-job alerts, and major event logs are reviewed | Monthly
UPS and power | Check battery health, recent events, shutdown linkage, and overload margin | Monthly
Patch and exposure review | Record update state, remote-access exposure, and deferred risks | Monthly
Capacity forecast | Note future workload, license, storage, or hardware expansion needs | Monthly
Restore confidence test | Run deeper recovery validation and document result | Quarterly
Annual lifecycle review | Review replacement timing, vendor support, and redesign need | Annual

## System Scope
Blue Orbit TechHub - System Scope
Field | Value | Field | Value
Client / Server Name |  | Primary Contact
System Type |  | Review Owner
Maintenance Start Date |  | AMC / Support Level

## Quarterly Notes
Blue Orbit TechHub - Quarterly Notes
Quarter | Focus Area | Notes
Q1
Q2
Q3
Q4